## Sheet1
Site | Site Name | Building Address | City | ZIP | Owner (or Representative) | Contact email | Contact phone | Total Square Feet: | Manufacturing Space (SF) | Office Space (SF) | Other (SF) | New Market Tax Credit eligible? (Yes/No response) | Foreign Trade Zone? | Opportunity Zone? | Other local incentives. | Site Acreage / Additional Acreage Available | Asking Lease Rate ($/SF/YR) | Type of Lease (NNN/FSG) | Operating Expenses ($/SF/YR) | Year Built (include any additions) | Nearest Interstate Highway (Distance) | Interstate 10 Distance | Interstate 8 Distance | Phoenix Sky Harbor Distance | Phoenix Mesa Gateway Distance | Tucson International Distance | Nearest General Aviation Airport (Distance) | Absolute Intermodal Distance | Inland Port AZ (Planned) Distance | Zoning | Number of ACRC Credentials w/I 45 minutes | Type of Construction | # of Truck Doors Available | Clear Height (min/max) / Column (Bay) Spacing | Sprinklers (Wet or Dry) | Electric Power Provider (distance to substation) | Property Tax Rate per $1,000 of Investment: | Land/Building: | Machinery and Equipment: | Inventories: | (If exempt, please indicate) | Distance to Intermodal Container Facility | Rail Carier to the Site | Rail Carier to the Region (Class 1) | Are there any easements or impediments on the site | Topography (max grade/variance) | Is the site located in a flood plain | What is located in the surrounding area (industrial park, etc.) | What utilities are present at the site? | Are there any wetlands on the site | Are there any environmental issues on the site | Are there any emissions related issues or restrictions on the site | What is the wastewater treatment capacity | Please provide the real property tax rate for this parcel | Location Coordinates | Name of Road Directly Serving Site | Number lanes of road directly serving site | Name of Electric Power Provider | Distance to substation | Distance of distribution line to site | Distribution voltage | Substation capacity (total / available) | Name of Wastewater Provider | Line size | Distance to site | Specify if service is gravity or force main | Wastewater treatment plant capacity (MGD) | • total (design) capacity | • annual average daily flow | • peak flow | • excess (available) capacity | Total Capacity of line serving site | Excess Capacity of line serving site | Telecommunication Provider(s) | Describe known service at site | Fire Insurance Rating at Site | Name of Water Provider | Line size | Distance to site | Most recent flow test data (static and residual pressure, gpm) | Name of Natural Gas Provider | Line size | Distance to site | Existing pressure at site (psi) | Former Use(s) | Neighboring Uses | Geological and Topographic conditions | Average grade of the site | Has the site been graded? | Lead time for grading | Has the site been cleared? | Lead time for clearing | If not, how much would clearing and grading cost? | Ground water level (i.e. per water table) | Soil bearing capacity | Does the site have any wetlands or streams? | Has the soil clay layers? | What is the PI Index of the soil? | Is the site located near a flood plain? | In which seismic zone is the site located? | In which hurricane zone is the site loacted? | What is the wind load zone for the site? | No contamination or pollution on the site? | No endangering due to radioactive radiation? | No rocky ground? | Fracking activities around the site? (50 miles radius) | PERMITS | Existing environmental audit / Phase 1 report? | Existing archaeological audit? | Lead time for environmental permitting | Lead time for archaeological permitting | Lead time for air permitting | Is site located in an attainment or non-attainment area?
Site 1 | Central Arizona Commerce Park (CAZCP) | NEC Peters Road & Burris Road | Casa Grande | 85193 | Bill Honsaker Tony Lydon Marc Hertzberg | bill.honsanker@am.jll.com | 602.282.6267 | N/A | N/A | N/A | N/A | YES | YES | YES | Possible via a Development Agreement with City & County | Lot # 1= 14.4 ( up to +/- 230 acres available) | $2.75/SF Non-Rail Served - $3.50 / SF Rail Served Purchase only | N/A | N/A | N/A | 3.5 miles (I-8) | Interstate 10 - 8 miles | Interstate 8 - 3 - 3.4 miles | Phoenix Sky Harbor - 46 miles | Phoenix Mesa Gateway - 43.6 miles | Tucson International - 76 miles | Casa Grande Municipal Airport - 8 miles | 57 miles | 15 miles | I-2 heavy industrial | 842 | Built to Suit (BTS) | BTS | BTS | BTS | APS, 1.5 miles |  | 15.89% (Primary + Secondary rate) per $100 of assessed value | Exempt | Exempt |  | UP Tucson 80 Miles, BNSF Phoenix -55, New UP terminal in development by same owner 15 miles east of site | Union Pacific with switch by Mtn. States | Union Pacific | No | Extremely flat | No | Industrial | Water, Sewer, Electrical, Gas | No | No | County Air Quality Standards | 12 mgd plant with 6 mgd available |  | 32.869411, -111.788133 | Peters Road | 2 lanes | APS | 1 mile | 500 feet | 12.47kVA | 7.5 MW | City of Casa Grande | 10" | Immediately Adjacent | Gravity | 12 MGD | 12 MGD | 6MGD | 7MGD | ~5MGD |  |  | Century Link/Cox | Century Link | ISO 3 | Arizona Water Company | 16" | Adjacent | 3,000 to 4,000 gallons per minute fire flow | Southwest Gas |  A 6” high pressure line operating at 150 psig along Ash Road on the northern edge of the CAZCP.  A 4” high pressure line operating at 150 pisg along Commerce Drive within the CAZCP.  A 4” PE line operating at 60 psig along Commerce Drive within the CAZCP  Southwest Gas has a significant distribution system in this area and can extend natural gas service to this site as needed. | At Site | North edge 150 psig/Commerce Drive150psig/Commerce Drive 60psig | Agriculture | Agriculture |  |  | Yes | N/A | Yes | N/A | N/A |  |  | No |  |  | No | Seismic Zone 1 |  | Wind Zone 1 | No | No | No | No |  | Yes | Yes | N/A | N/A | Not required for this project | Non-attainment Zone for PM-10
Site 3 | Mikron Industries LLC | N Thornton Rd & W Lawrence St | Casa Grande | 85193 | Kirk McCarville | KMcCarville@landadvisors.com | 582-836-8801 | N/A | N/A | N/A | N/A | YES | YES | YES | Possible via a Development Agreement with City & County | 39.5 acres | $2.50/SF Purchase only | N/A | N/A | N/A | 3.5 miles (I-8) | Interstate 10 - 7.5 miles | Interstate 8 - 3.0 miles | Phoenix Sky Harbor - 44.5 miles | Phoenix Mesa Gateway - 42 miles | Tucson International - 76 miles | Casa Grande Municipal Airport - 6.5 miles | 57 miles | 15 miles | I-1 light industrial | 842 | Built to Suit (BTS) | BTS | BTS | BTS | APS, 1 mile |  | 15.89% (Primary + Secondary rate) per $100 of assessed value | Exempt | Exempt |  | UP Tucson 80 Miles, BNSF Phoenix -55, New UP terminal in development by same owner 15 miles east of site | Union Pacific with switch by Mtn. States | Union Pacific | No | Extremely flat | No | Industrial | Water, Sewer, Electrical, Gas | No | No | County Air Quality Standards | 12 mgd plant with 6 mgd available |  | 32.872942, -111.778791 | Lawerence | 2 lanes | APS | 1 Mile | Immediately Adjacent | 12.47kVA | 7.5 MW | City of Casa Grande | 12” | Immediately Adjacent | Gravity | 12 MGD | 12 MGD | 6MGD | 7MGD | ~5MGD |  |  | Century Link/Cox | Century Link | ISO 3 | Arizona Water Company | 12" | Adjacent | 3,000 to 4,000 gallons per minute fire flow | Southwest Gas |  A 4” PE line operating at 60 psig along Thornton Road on the eastern edge of this industrial park  Southwest Gas has a significant distribution system in this area and can extend natural gas service to this site as needed. | At Site | 60 psig along Thornton Road | Agriculture | Agriculture |  |  | Yes | N/A | Yes | N/A | N/A |  |  | No |  |  | No | Seismic Zone 1 |  | Wind Zone 1 | No | No | No | No |  | Yes | Yes | N/A | N/A | Not required for this project | Non-attainment Zone for PM-10
Site 4 | Orsett | N Thornton Rd & W Lawrence St | Casa Grande | 85193 | Kirk McCarville | KMcCarville@landadvisors.com | 582-836-8801 | N/A | N/A | N/A | N/A | YES | YES | YES | Possible via a Development Agreement with City & County | 17.7 acres | $2.50/SF Purchase only | N/A | N/A | N/A | 3.5 miles (I-8) | Interstate 10 - 7.5 miles | Interstate 8 - 3.0 miles | Phoenix Sky Harbor - 44.5 miles | Phoenix Mesa Gateway - 42 miles | Tucson International - 76 miles | Casa Grande Municipal Airport - 6.5 miles | 57 miles | 15 miles | I-1 light industrial | 842 | Built to Suit (BTS) | BTS | BTS | BTS | APS, 1 mile |  | 15.89% (Primary + Secondary rate) per $100 of assessed value | Exempt | Exempt |  | UP Tucson 80 Miles, BNSF Phoenix -55, New UP terminal in development by same owner 15 miles east of site | Union Pacific with switch by Mtn. States | Union Pacific | No | Extremely flat | No | Industrial | Water, Sewer, Electrical, Gas | No | No | County Air Quality Standards | 12 mgd plant with 6 mgd available |  |  | Lawerence | 2 lanes | APS | 1 Mile | Immediately Adjacent | 12.47kVA | 7.5 MW | City of Casa Grande | 12” | Immediately Adjacent | Gravity | 12 MGD | 12 MGD | 6MGD | 7MGD | ~5MGD |  |  | Century Link/Cox | Century Link |  | Arizona Water Company | 12" | Adjacent | 3,000 to 4,000 gallons per minute fire flow | Southwest Gas |  A 4” PE line operating at 60 psig along Thornton Road on the eastern edge of this industrial park  Southwest Gas has a significant distribution system in this area and can extend natural gas service to this site as needed. | At Site | 60 psig along Thornton Road | Agriculture | Agriculture |  |  | Yes | N/A | Yes | N/A | N/A |  |  | No |  |  | No | Seismic Zone 1 |  | Wind Zone 1 | No | No | No | No |  | Yes | Yes | N/A | N/A | Not required for this project | Non-attainment Zone for PM-10
Site 5 | Thornton & Ash LLC | N Thornton Rd & W Ash Ave | Casa Grande | 85193 | Kirk McCarville | KMcCarville@landadvisors.com | 582-836-8801 | N/A | N/A | N/A | N/A | YES | YES | YES | Possible via a Development Agreement with City & County | 16 acres | $1.50/SF Purchase only | N/A | N/A | N/A | 3.5 miles (I-8) | Interstate 10 - 7.5 miles | Interstate 8 - 3.0 miles | Phoenix Sky Harbor - 44.5 miles | Phoenix Mesa Gateway - 42 miles | Tucson International - 76 miles | Casa Grande Municipal Airport - 6.5 miles | 57 miles | 15 miles | I-1 light industrial | 842 | Built to Suit (BTS) | BTS | BTS | BTS | APS, 1 mile |  | 15.89% (Primary + Secondary rate) per $100 of assessed value | Exempt | Exempt |  | UP Tucson 80 Miles, BNSF Phoenix -55, New UP terminal in development by same owner 15 miles east of site | Union Pacific with switch by Mtn. States | Union Pacific | No | Extremely flat | No | Industrial | Water, Sewer, Electrical, Gas | No | No | County Air Quality Standards | 12 mgd plant with 6 mgd available |  |  | Thornton & Ash | 2 lanes | APS | [15 empty] | Century Link/Cox | Century Link | [5 empty] | Southwest Gas |  |  |  | Agriculture | Agriculture
Site 6 | Airport Industrial Park | [20 empty] | Interstate 10 - 5 miles |  | Phoenix Sky Harbor - 39 miles | Phoenix Mesa Gateway - 36 miles | Tucson International - 80 miles | Adjacent to CGZ with TTF access points | 48 miles | 20 miles | I-1 & I-2 | 842 | Built to Suit (BTS) | BTS | BTS | BTS |  |  | 15.89% (Primary + Secondary rate) per $100 of assessed value | Exempt | Exempt
Site 7 | Casa Grande Transportation Company | N. Jefferson Ave & W McMurray Blvd | Casa Grande | 85193 | Aaron Adamson | aadamson@cardinalcorp.com | 678-234-5517 | N/A | N/A | N/A | N/A | YES | YES | YES | Possible via a Development Agreement with City & County | 14.4 acres | N/A | N/A | N/A | N/A | 4 miles |  |  | Phoenix Sky Harbor - 46 Miles |  | Tucson International - 76 Miles |  |  |  | I-2 heavy industrial | 842 | Built to Suit (BTS) | BTS | BTS | BTS | APS, .5 miles |  | 15.89% (Primary + Secondary rate) per $100 of assessed value | Exempt | Exempt |  | UP Tucson 80 Miles, BNSF Phoenix -55, New UP terminal in development by same owner 15 miles east of site | Union Pacific with switch by Mtn. States | Union Pacific | No | Extremely flat | No | Industrial | Water, Sewer, Electrical, Gas | No | No | County Air Quality Standards | 12 mgd plant with 6 mgd available | [20 empty] | Century Link/Cox | Century Link | [5 empty] | Southwest Gas |  |  |  | Agriculture | Agriculture
Site 8 | DSK Properties LLC | N. Jefferson Ave & W McMurray Blvd | Casa Grande | 85193 | Craig Dayton | daytoncompany@cox.net | 480-940-9666 | N/A | N/A | N/A | N/A | YES | YES | YES | Possible via a Development Agreement with City & County | 22.9 acres | $2.50/SF Purchase only | N/A | N/A | N/A | 4 miles |  |  | Phoenix Sky Harbor - 46 Miles |  | Tucson International - 76 Miles |  |  |  | I-2 heavy industrial | 842 | Built to Suit (BTS) | BTS | BTS | BTS | APS, immediately adjacent |  | 15.89% (Primary + Secondary rate) per $100 of assessed value | Exempt | Exempt |  | UP Tucson 80 Miles, BNSF Phoenix -55, New UP terminal in development by same owner 15 miles east of site | Union Pacific with switch by Mtn. States | Union Pacific | No | Extremely flat | No | Industrial | Water, Sewer, Electrical, Gas | No | No | County Air Quality Standards | 12 mgd plant with 6 mgd available | [20 empty] | Century Link/Cox | Century Link | [5 empty] | Southwest Gas |  |  |  | Agriculture | Agriculture